Customer Required Spec Form

Reference product: FBG Optic Sensor

Customer name:

Customer product/model/project name:

Customer contact person:						Date:

|  | DESCRIPTION | CURRENT SPEC RANGE | CUSTOMER SPEC |
| --- | --- | --- | --- |
| 1 | Center wavelength position | C-band |  |
| 2 | Center wavelength tolerance@25℃ | < +/-0.25nm |  |
| 3 | Reflective bandwidth @-0.5dB | -- |  |
| 4 | Reflective bandwidth @-3dB | < 0.3nm |  |
| 5 | Reflective bandwidth @-20dB | -- |  |
| 6 | Reflectivity | > 90% |  |
| 7 | Fiber in use | Corning SMF-28 |  |
| 8 | Cladding mode loss (SMF-28) | <0.2dB |  |
| 9 | Splicing loss per node (SMF-28) | <0.1dB |  |
| 10 | Side lobe suppression | > 15dB |  |
| 11 | Operation temperature range | -5℃ ~ 70℃ |  |
| 12 | Packaging type (Please refer to below “Package Configuration”, and select your required packaging) | Typical A-3 B-1 C-1 |  |
| 13 | Athermal package temperature stability (wherever applied) | Typical <1pm/℃ |  |
| 14 | Pigtail length | -- |  |
| 15 | FBG position on the fiber | Typical @center |  |
| 16 | Recoating materials (wherever applied) | Acrylate |  |
| 17 | FBG Sensor number in an array | Max 37 (spliced) |  |

## Package Configuration

| PACKAGE | TYPE | DESCRIPTION | DRAWING |
| --- | --- | --- | --- |
| Athermal package | A-1 | Tube sealed, all specialty fiber for pigtail |  |
|  | A-2 | Tube sealed, splice with SMF-28 for pigtail, recoated at splicing point |  |
|  | A-3 | Tube sealed, splice with SMF-28 for pigtail, heat shrink tube to protect splicing points |  |
| Recoated | B-1 | Recoated with acylate, all specialty fiber for pigtail |  |
|  | B-2 | Recoated with acylate, splice with SMF-28 for pigtail, recoated at splicing point |  |
|  | B-3 | Recoated with acrylate, splice with SMF-28 for pigtail, heat shrink tube to protect splicing points |  |
| Bare FBG | C-1 | No recoating on FBG window, all specialty fiber for pigtail | Normally, stripped length will be at least 10mm longer than grating length. If you have special requirement, please specify: Stripped length =_________mm Grating length = _________mm |
|  | C-2 | No recoating on FBG window, splice with SMF-28 for pigtail, recoated at splicing point |  |
|  | C-3 | No recoating on FBG window, splice with SMF-28 for pigtail, heat shrink tube to protect splicing points |  |